**Appendix 2**

|  |
| --- |
| **Appendix 2. ERG protocol settings.**  |
| **ERG response** | **Cell** | **Light source** | **Light intensity****Log Cd ms-2** | **Stimulus lenght****msec** | **Basal time recording****msec** | **After stimulus time recording** | **High pass filter****Hz** | **Low pass filter Hz** | **average** |
| **DSR** | GCL | Ganzfeld | -4 | 5 (single) | 100 | 500 | 1 | 1000 | 10 |
| **b-scotopic** | Rod | Ganzfeld | -2 | 5 (single) | 100 | 500 | 1 | 1000 | 10 |
| **Mixed** | Rod+cones | Diode | 1.5 | 5 (single) | 100 | 500 | 1 | 1000 | 10 |
| **Oscilatory potentials** | Inner retina neurons | Diode | 1.5 | 5 (single) | 100 | 500 | 30 | 10000 | 10 |
| **b-photopic** | Cones | Diode | 2 | 5 (single) | 100 | 500 | 1 | 1000 | 6 |
| **Flicker** | Cones | Diode | 2 | 5 (20Hz) | 100 | 500 | 1 | 1000 | 6 |
|  |  |  |  |  |  |  |  |  |  |