STR Profile Report

| User Name | Kenneth Thompson |
| --- | --- |
| Date Submitted | 1/27/2016 |
| Report Date | 2/1/2016 |
| Sample submitted | Genomic DNA and Cell culture |
| Sample Names | ARPE-19 DNA and ARPE-Cell |

Genomic DNA isolation: Genomic DNA was isolated using DNA easy kit for blood and Tissue from Qiagen. DNA concentration was measured by nanodrop and verified by running DNA on 1% Agarose gel

Methods:

Cell-lines were authenticated using GenePrint 10 System from Promega. The GenePrint® 10 System allows co-amplification of repeat regions of nine short tandem repeat human loci, including the ASN-0002 loci (TH01, TPOX, vWA, Amelogenin, CSF1PO, D16S539, D7S820, D13S317 and D5S818) as well as D21S11. The samples were processed on ABI 3130XL Genome Analyzer. Data was analyzed using GeneMapper® v4.0 software. Positive and negative controls were run.

| Loci | ARPE-19_DNA | ARPE-19_cell |
| --- | --- | --- |
| D5S818 | 13 | 13 |
| D13S317 | 11, 12 | 11, 12 |
| D7S820 | 9, 11 | 9, 11 |
| D16S539 | 9, 11 | 9, 11 |
| vWA | 16, 19 | 16, 19 |
| TH01 | 6, 9.3 | 6, 9.3 |
| AMEL | X, Y | X, Y |
| TPOX | 9, 11 | 9, 11 |
| CSF1PO | 11 | 11 |
| D21S11 | 28, 29 | 28, 29 |
| Number of Shared Allele | 100% match with CRL-2302 | 100% match with ATCC no. CRL-2302 |

An 80% match or greater indicates that the cells in question are from the same donor as the reference cells and less than an 80% match could indicate cell line contamination or misidentification (Capes-Davis, 2012).  Cell lines with between a 55% to 80% match require further profiling for authentication of relatedness.