Sample：

1. 293genome

Reagent:

®

GenePrint 10 System (Promega) Result:

1. 293genome

STR Profile

| Locus | 293genome |  | 293 [HEK-293] (ATCC® CRL-1573™) |
| --- | --- | --- | --- |
| THO1 | 7 | 9.3 |  | 7 9.3 |
| D21S11 | 28 | 30.2 |  | - | - |
| D5S818 | 8 | 9 |  | 8 | 9 |
| D13S317 | 12 | 14 |  | 12 | 14 |
| D7S820 | 11 |  |  | 11 | 12 |
| D16S539 | 9 | 13 |  | 9 | 13 |
| CSF1PO | 7 | 11 12 |  | 11 | 12 |
| AMEL | X |  |  | X |  |
| vWA | 16 | 19 |  | 16 | 19 |
| TPOX | 11 |  |  | 11 |  |

STR profiles of 293genome were not completely matched with 293 [HEK-293] (ATCC®

CRL-1573™). But Evaluation value (EV) between 293genome and 293 [HEK-293] (ATCC® CRL-1573™) was 0.94, which was high enough that STR profiles of 293genome are the same as those of 293 [HEK-293] (ATCC® CRL-1573™).

Therefore two cell lines were considered to be the identical cell strain.

Reference:

Cell line individualization by STR multiplex system in the cell bank found

cross-contamination between ECV304, and EJ-1/T24. Tissue Culture Research

Communications,18:329-338(1999)

Tanabe,H., Takada,Y., Minegishi,D., Kurematsu,M. Masui,T., and Mizusawa,H.

Check your cultures! A list of cross-contaminated or misidentified cell lines. Int J Cancer. 2010 Jul 1;127(1):1-8.

Capes-Davis A1, Theodosopoulos G, Atkin I, Drexler HG, Kohara A, MacLeod RA, Masters JR, Nakamura Y, Reid YA, Reddel RR, Freshney RI.