STR Profiling Report

Sample From: Eye & ENT Hospital of Fudan University

Sample Type: Cell Line

Testing Method: STR Genotyping

Report Time: April 14, 2021

COMPANY STATEMENT

- THIS REPORT IS ONLY RESPONSIBLE FOR THE SAMPLES ANALYZED.

- THE TESTING RESULTS AND THE ORGANIZATION NAME WILL NOT BE USED FOR ADVERTISEMENT, COMMERCIAL EXHIBITIONS, COMMERCIAL PERFORMANCE AND OTHER COMMERCIAL ACTIVITIES.

- OBJECTIONS SHOULD BE RAISED WITHIN FIFTEEN DAYS AFTER THE RECEIPT OF THIS REPORT.

- THE PAPER REPORT WITH CONTENT ALTERING, ADDING OR WITHOUT THE STAMPED SEAL OF THE COMPANY ARE INVALID.

Testing Company: Shanghai Biowing Applied Biotechnology Co. Ltd

Address: Room 502, NO.1015 Longteng Rd , Songjiang District, Shanghai

Tel: +86-021-33559491

Contact: Wenyao Zhang

E-mail: market@biowing.com.cn

Cell Line Authentication – STR Profiling Report

Sample code

Table 1. Sample Code

| Customer’s code | Company Code |
| --- | --- |
| SRA | 20210408-02 |

Sample Number :1

Sample Type: Cell line

Testing Type: STR

Testing Method:

DNA was extracted by a commercial kit from CORNING (AP-EMN-BL-GDNA-250G). The twenty STRs including Amelogenin locus were amplified by six multiplex PCR and separated on ABI 3730XL Genetic Analyzer. The signals were then analyzed by the software GeneMapper.

Data Interpretation:

Cell lines were authenticated using Short Tandem Repeat (STR) analysis asdescribed in 2012 in ANSI Standard (ASN-0002) by the ATCC Standards Development Organization (SDO) and in Capes-Davis et al., Match criteria for human cell line authentication: Where do we draw the line? Int J Cancer.2013;132(11):2510-9.

Test Results

1. STR profile

Table 2. STR and Amelogenin Genotyping Results of Cell line.

| Loci | Sample information | Cell Bank information |
| --- | --- | --- |
|  | Sample name：SRA | Cell line name：SRA 01/04 |
|  | Allele1 | Allele2 | Allele3 | Allele1 | Allele2 | Allele3 |
| D5S818 | 11 | 12 | 13 | 11 | 12 | 13 |
| D13S317 | 10 | 10 |  | 10 | 10 |  |
| D7S820 | 10 | 11 | 13 | 10 | 11 | 13 |
| D16S539 | 10 | 10 |  | 10 | 10 |  |
| VWA | 17 | 20 |  | 17 | 20 |  |
| TH01 | 6 | 7 |  | 6 | 7 |  |
| AMEL | X | Y |  | X | Y |  |
| TPOX | 8 | 8 |  | 8 | 8 |  |
| CSF1PO | 11 | 13 | 15 | 11 | 13 | 15 |
| D12S391 | 19 | 22 |  |  |  |  |
| FGA | 20 | 22.2 |  |  |  |  |
| D2S1338 | 23 | 24 |  |  |  |  |
| D21S11 | 27 | 28 | 31 |  |  |  |
| D18S51 | 13 | 13 |  |  |  |  |
| D8S1179 | 14 | 15 |  |  |  |  |
| D3S1358 | 14 | 15 |  |  |  |  |
| D6S1043 | 16 | 18 |  |  |  |  |
| PENTAE | 7 | 18 |  |  |  |  |
| D19S433 | 14 | 14 |  |  |  |  |
| PENTAD | 9 | 12 | 13 |  |  |  |
| D1S1656 | 13 | 16 |  |  |  |  |

2. database annotation

Figure 1. STR matching analysis

Note: The STR online match analysis of the test cell against DSMZ database, showing cell number (Cell No.) and cell name.

3. Authentication

The submitted sample profile is human, but not a match for any profile in the DSMZ STR database.

The submitted profile is an exact match for the following human cell line(s) in the DSMZ STR database (8 core loci plus Amelogenin): SRA 01/04.

The submitted profile is similar to the following DSMZ human cell line: /.

- Note: A cell line can be considered to be authenticated when 80% (exact match) of the alleles in its STR profile match profiles from tissue or other cell line samples from that donor or from database. Cell lines with between a 55% to 80% (similar) match require further profiling for investigation of relatedness.

Figure 2. STR profiles of sample cell line

Appendix

1. Genotyping Strategy and Site Distribution

Table S1. Experimental Strategy and Sites

|  | Strategy 1 | Strategy 2 | Strategy 3 | Strategy 4 |
| --- | --- | --- | --- | --- |
| 1 | D3S1358 | D8S1179 | D19S433 | AMEL |
| 2 | VWA | D21S11 | TH01 | D1S1656 |
| 3 | D7S820 | D16S539 | D13S317 | D5S818 |
| 4 | CSF1PO | D2S1338 | TPOX | D12S391 |
| 5 | PENTAE | PENTAD | D18S51 | FGA |
| 6 |  |  | D6S1043 |  |

The allele match algorithm compares the 8 core loci plus amelogenin only, even though alleles from all lociwill be reported when available.

2. DSMZ tools was used to carry on the cell line comparison, which contains 2455 cell lines STR data from ATCC, DSMZ, JCRB ,ECACC，GNE and RIKEN databases. If the cell is not included in the above cell library, users need to compared with other databases.

Technician: Jianan Zhang

Checked by:  Ning Qian

Issued by: Yang Bai

Issue date: April 14, 2021

# Text boxes

Cell Line Authentication Service